# Integration into SpikeProcessor

In initialize_variables.m:

MATLAB

1

initialize_in*ubator();

Show more lines

Load your protocol:

MATLAB

1

global Incubator

2

3

Incubator.TaskList = {

4

0,'Temperature',37

5

0,'CO2',5

6

0,'O2',10

7

3600,'O2',15

8

7200,'EndOfExperiment',NaN

9

};

Show more lines

Inside START_MAIN_LOOP, exactly where you currently have:

MATLAB

1

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

2

%%% insert other accessory functions here

3

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

Show more lines

add:

MATLAB

1

update_incubator();

Show more lines

before:

MATLAB

1

update_files(...)

Show more lines

add:

MATLAB

1

global Incubator

2

FileInfo.IncubatorLog = Incubator.Log;

Show more lines

One improvement I'd strongly recommend later: store the protocol in a .mat file exported from your current IncubatorManager GUI, so you can still design experiments with the existing GUI and simply load taskList directly into SpikeProcessor. That would preserve all the scheduling functionality with almost no extra work.